MODEL SX-1

Capacity (Emax) 30, 50, 75, 100 and 150 kg

Dimensions: 60 x 60 mm, 15 mm thickness (up to 100 kg), 20 mm thickness (150 kg)

Specs:

| Accuracy Class | C3 |
| --- | --- |
| Minimum step for verification (Vmin) | Emax /10.000 |
| Sensibility (Nominal Output) | 2 mV/V ± 0.1% |
| Recommended Voltage Supply | 5 to 15 V |
| Input Resistance | 350 Ω ± 5Ω |
| Output Resistance | 350 Ω ± 4 Ω |
| Isolation Resistance at 50 dc | > 5000 MΩ |
| Combined Error | < ± 0,02 % Nominal Output |
| Balanced Temperature Range | -10 to 40 ºC |
| Protection Grade | IP - 67 |
| Overload without permanent deformation | 150% Emax |
| Break Load | >500% Emax |
| Cable Lenght | 5 meter |

Colour Code:

| In + | Red |
| --- | --- |
| In - | Black |
| Output + | Green |
| Output - | White |